## Slide 1: Challenges and opportunities of water and energy management: São Paulo and Rio de Janeiro
Jerson Kelman
World Water Week, Stockholm

## Slide 2
São Paulo
Rio de Janeiro

## Slide 3
Integrated water resources management
A challenge for federated countries
Brazil, a Federative Republic
One Federal Government
27 State Governments
Water use and infrastructure permits are issued by the State Governments or by the Federal Government
State jurisdiction
Federal jurisdiction

## Slide 4
BACIA DO RIO PIRACICABA

## Slide 5
Transmission System
120.000 km 230 -800 kV
4 000 km
Brazil
4 000 km
Europe

## Slide 6
BACIA DO RIO PIRACICABA

## Slide 7
TRANSPOSIÇÂO DA BACIA DO RIO PIRACICABA

## Slide 8
ETA GUARAÚ
CANTAREIRA
33.000 l/s
Water supply for 9 million people

## Slide 9
RESOLUÇÃO CONJUNTA ANA/DAEE Nº 428, DE 04 DE AGOSTO DE 2004 (8/11)
ANEXO II
t = índice do mês
Δt = número de segundos do mês
j = 1 índice que representa a Região Metropolitana de São Paulo
j = 2 índice que representa a Bacia do Piracicaba;
Q = vazão de retirada do sistema equivalente;
E = estado do sistema
X = limite de vazão de retirada obtida em função de E, através da tabela do Anexo I;
V = volume armazenado no sistema equivalente;
S = vertimento do sistema equivalente;

## Slide 10
Fonte: Plano Diretor de Recursos Hídricos da Macrometrópole Paulista, 2013

## Slide 12
Intake for Rio de Janeiro metropolitan area

## Slide 14
Elevatória de S. Cecília
250 m3/s
90 m3/s
160 m3/s

## Slide 15
Usinas do Complexo de Lajes Subsistema Paraíba - Piraí
Reservatório
de Vigário
Reservatório de
Santana
Elevatória de
Santa Cecilia
(altura de recalque de 15 m)
Elevatória de
Vigário
(altura de recalque de 35 m)
UHE
Nilo Peçanha
Rio Paraiba do Sul
Reservatório de
Ponte Coberta
Câmara de
Válvulas
Queda Média
313 m
368,00 (máximo)
353,00 (máximo)
399,00 (máximo)
363,60 (máximo)
Notes: 15

## Slide 16
CASA DE VÁLVULAS

## Slide 17
Guandu Water Treatment Plant
Water Supply for Metropolitan area of Rio de Janeiro
48 l/s

## Slide 20: Water allocation must be decided by whoever has the responsibility to look after the interests of all affected parties, inside and outside the river basin. If this authority doesn´t exist, it must be created.